3D Printer Safety Guidelines

If you are working with 3D printer(s) on the RIT campus, please contact the RIT Environmental Health and Safety Department at 475-2040.

| Administrative and Procedural Control Measures |  |
| --- | --- |
| Training | ____Lab Safety, Studio Safety, or Hazard Communication |
|  | ____Training specific to the 3D printer process(es) |
| What needs to be reviewed? | ____Owner’s Manual for printing equipment |
|  | ____Safety Data Sheets of printing materials |
|  | ____Review of materials, with EH&S, prior to purchasing and use (other than PLA or ABS) |
| PPE | ____Respirator, if specified by EH&S |
|  | ____If corrosive bath is used as part of the process: lab coat/apron, chemical resistant gloves and safety goggles |
| Lab Safety Precautions | ____No eating, drinking, applying cosmetics, chewing gum, or handling contact lenses |
|  | ____Wash hands thoroughly after printer use |
|  | ____Clean all work surfaces and flooring using a wet method (Do not use dry methods such as sweeping) |
|  | ____Do not congregate around the printer(s) for extended periods of time |
|  | ____Cover and label containers when transferring powders from one location to another |
|  | ____Use tongs when placing item in & removing item when a corrosive bath is involved |
| Lab Space Considerations |  |
| ____Use printers only in designated lab environment(s) |  |
| ____Ventilation (6-12 Air Changes/ Hour) |  |
| ____Design room according to the number of printers housed within the lab |  |
| ____When feasible use fully enclosed, low particle emitting printer(s) |  |
| ____Exhaust ventilation for equipment used for mixing operations |  |
| ____Eyewash if corrosive bath is part of the process |  |