Environmental Health & Safety – Laboratory Review

Inspection items to be verified after IBC review:

- Ensure proper maintenance/certification of all equipment (e.g. certified biosafety cabinets).			 Yes   No  NA

- Ensure all required signage is posted in laboratory areas.							 Yes   No

- Compile a lab notebook consisting of items 1-3 from page 1. (SDS, training certificates, SOP)			 Yes   No

- Ensure no plants or animals in the laboratories.									 Yes   No

- Ensure any autoclaves have appropriate, up-to-date operation and validation logs, and are validated every 40 operating hours.

Yes   No  NA

COMMENTS:

PI Signature ______________________________________________  		Date _______________

EH&S Signature ___________________________________________		Date _______________

Retain a copy of this completed checklist with your project documentation. For questions, contact Cindy White at (585) 475-4980 or clwehs@rit.edu. 
NOTE: Any comments or non-compliance with guidelines require a written response/notification of action to Cindy White within 14 days of checklist receipt.