Rochester Institute of Technology

Emergency Action Plan

January 2023

Prepared by:

Department of Environmental Health & Safety

Department of Public Safety

Table of Contents

Reporting Emergencies	3

Emergency Notification	3

Building Evacuation Notification and Emergency Signals	4

Evacuation Exits and Procedures	4

Portable Fire Extinguisher Use	4

Areas of Rescue Assistance	5

Critical Operations	5

Medical or Rescue Duties	5

Meeting Areas	5

Accountability Following Evacuation	5

Response to Specific Hazards	6

- Fire	7

- Medical Emergencies	8

- Medical Emergency Involving Hazardous Materials	9

- Hazardous Materials Release	10

- Utility Failure	12

- Severe Thunderstorm	13

- Armed Intruder	14

- Bomb Threat	15

- Suspicious Letter/Package or Object	16

- Civil Disturbances	17

- Earthquake	18

- Water Emergency	19

- Tornado	20

Attachment 1 - Telephone Bomb Threat Report Form	21

Attachment 2 – RIT Alert Template Messages	22

Change and revision history………………………………………………………………….23

# Reporting Emergencies

You can report any emergency (or suspicious activity) to RIT Public Safety. They are available 24 hours per day, 7 days per week, 365 days per year.

- 585-475-3333 (v/tty); or just 3333 on a campus telephone

- 585-205-8333 (text)

- Tiger Safe App

You may also call or text 911 to reach the Monroe County Emergency Communications Department

# Emergency Notification

RIT ALERT is the university’s emergency notification system. It is used to notify the campus community in the event of a significant emergency or dangerous situation on campus or in the local area that poses an immediate threat to the health and safety of campus community members.

The system, when activated, can send messages via voice and text to mobile phones, to alert beacons, to desktop alerts, post messages on RIT’s main and emergency web pages, as well as the official RIT social media platforms.

In order for the system to effective, individual students, staff and faculty should ensure that their mobile phone numbers are available for alerts.

- Faculty and Staff – go to myinfo.rit.edu and log in. Review and update information in the Phone Numbers and Emergency Notification Information area

- Students – go to SIS and enter in the Cell/Mobile phone field of the Personal Information area

# Building Evacuation Notification and Emergency Signals

In the event of an emergency, building occupants may be alerted by any one or a combination of the following:

  - The sounding of a fire alarm

  - Fire alarm strobes

  - RIT Alert notification

  - Sign-Language or Written Orders

# Evacuation Exits and Procedures

In the event of an emergency, all building occupants must respond to emergency signals and notifications. In the event evacuation is necessary, all occupants will evacuate immediately using the nearest available marked exit. In the event of fire, all building occupants are to evacuate immediately. Occupants who are unable to evacuate should contact Public Safety at (585) 475- 3333 (voice) or 585-205-8333 (text).

Use the stairs for evacuation; do not use elevators. Assist others along the way if it can be done so safely. Once outside, move well away from the building; do not congregate around the exits.

R - Remove anyone in immediate danger, only if you can do so safely

A - Activate the fire alarm system by setting off the nearest pull station

C - Confine the fire by closing doors and windows as you leave

E - Evacuate the building and move well away from the area

# Portable Fire Extinguisher Use

In the event of a fire, you should alert others and immediately evacuate the building. Employees are not expected to fight fires.

University buildings are equipped with fire extinguishers in accordance with the requirements of the construction and/or fire safety codes. Students, faculty and staff are not expected to utilize these devices to fight fires due to the potential danger to their personal safety. from products of combustion and the threat of a spreading fire.

A fire extinguisher may be utilized to clear a safe path to an exit if you are trapped. Before using a fire extinguisher, you should know how to properly select and operate one.

# Areas of Rescue Assistance

Areas of Rescue Assistance are specifically designed areas in stairwells of buildings constructed after 2010. Individuals who cannot evacuate using the stairs should contact the Disability Services Office- DSO (students) or Human Resources (employees), including for temporary circumstances. DSO and HR will work with Environmental Health and Safety to discuss and preplan evacuation options. During an emergency contact RIT Public Safety to let them know of your location and wait for assistance.

# Critical Operations

There are no critical operations that would require anyone to delay evacuation from any building.

# Medical or Rescue Duties

Only trained emergency responders are assigned to perform medical or rescue duties. No other employees are assigned to perform medical or rescue duties during emergencies. Provision of first aid should be provided by trained persons only.

# Meeting Areas

After an emergency evacuation, move well away from the building at least 100ft to allow emergency responders easy access. Note that there are some situations that will require people to move as far as 400 feet away from the building. In these cases, occupants will be advised by emergency responders.

# Accountability Following Evacuation

After getting out of the building, individuals should report to their supervisor or instructor that they have gotten out safely. Building managers and supervisors are responsible for coordinating accountability and report to emergency responders that someone may be unaccounted for.

# Response to Specific Hazards

Hazards most likely to impact RIT have been identified with specific response actions individuals should take for each.

- Fire

- Medical Emergencies

- Medical Emergencies Involving Hazardous Materials

- Hazardous Material Spill

- Utility Failure

- Severe Weather

- Armed Intruder

- Bomb Threat

- Suspicious Package or Object

- Civil Disturbance

- Earthquake

- Water Emergency

- Tornado

## Fire

What you should do:

  - Evacuate the building using the nearest available stairwell or exit. Do not use elevators

  - If an alarm is not sounding, pull red fire alarm on your way out, if possible

  - Close doors on your way out, if possible

  - Assist mobility impaired persons

  - Report to your departments  pre-determined meeting area and move well away from the building

  - Follow all instructions from emergency responders

  - Await further instructions

All building occupants are to evacuate the facility. There are no critical operations that would require anyone to remain behind during an emergency evacuation.

What you should know:

  - All Rochester Institute of Technology facilities are equipped with an automatic fire alarm system, and many are equipped with fire sprinkler systems.

  - Most facilities contain both audible and visual notification appliances for alarms

  - Only use fire extinguishers if you have been trained

## Medical Emergencies

What you should do:

  - Notify Public Safety or direct someone to do so and provide the following information:

    - Building name

    - Exact location within the building

    - Your name and phone number

    - Nature of the emergency /description of injured person’s injury or illness

    - Do not hang up until advised to do so by dispatcher

  - Render first aid if you are trained to do so

  - If an AED is available, you may administer if you are trained to do so

  - Keep injured person warm with a coat or blanket

  - Do not move the injured person unless there is danger of further injury

  - Do not give the injured person anything to eat or drink

  - If someone is experiencing a seizure, do not put anything in their mouth or prevent their body from moving during an active seizure.  Move objects away from them to protect them from injury, and observe breathing and airway to ensure they are breathing and not choking, notify Public Safety or 911.

What you should know:

  - Medical emergencies and accidents may occur at any time and may involve a student, employee or visitor.

  - Some emergencies may only require first aid care, while others may require immediate medical attention.

  - RIT Public Safety officers are trained in first aid; each of their patrol vehicles has an AED.

## Medical Emergency Involving Hazardous Materials

What you should do:

  - Evacuate the building if the hazardous material cannot be contained or controlled

  - Clear the area to ensure no additional hazardous material exposures are occurring

  - Once you are in a safe place, notify Public Safety or direct someone to do so and provide the following information:

    - Building name

    - Your name and phone number

    - Exact location within the building

    - Nature of the emergency /description of injured person’s injury or illness

    - The name of the hazardous material/chemical the injured person was exposed to

    - Do not hang up until advised to do so by dispatcher (unless calling from the hazard area)

  - Pull and review the Safety Data Sheet (SDS), previously referred to as Material Safety Data Sheet (MSDS), of the hazardous material/chemical to determine exposure response and have it available for emergency responders

  - Follow the instructions from the SDS and/or Dispatcher

What you should know:

  - Be familiar with the SDSs for each chemical that you are working with so that you are familiar with exposure response procedures

  - Be familiar with where the SDSs are stored for the chemicals you are working with

  - Wear appropriate personnel protective equipment to avoid exposure incidents

  - Avoid working with hazardous material alone so that a partner can assist you in the event of an exposure incident

## Hazardous Materials Release

What you should do:

Spill/Release Inside of a Building:

  - Evacuate the building if the hazardous material spill cannot be contained or controlled

  - Clear the area to ensure no hazardous material exposures are occurring

  - Once you are in a safe place, notify Public Safety and provide the following Information

    - Building Name

    - Your name and phone number

    - Location of the spill and/or materials released

    - Characteristics of spill (colors, smells, visible gases)

    - Name of substance, if known

    - Injuries, if any

    - Do not hang up until advised to do so by dispatcher (unless calling from the hazard area)

  - You can remain inside building unless ordered to evacuate by the Public Safety.

  - DO NOT eat or drink anything or apply cosmetics in the area impacted by the spill.

Spill or Release Outside of a Building:

  - Notify Public Safety and provide the following information:

    - Building address, including nearest cross street or nearest adjacent bldg(s)

    - Your name and phone number

    - Location of the spill and/or materials released

    - Characteristics of spill (colors, smells, visible gases)

    - Name of substance, if known

    - Injuries, if any

    - Do not hang up until advised to do so by dispatcher (unless calling from the hazard area)

  - Alert others in the immediate area to leave the area

  - Restrict access to the affected area

  - Try to protect drainage areas and soil from contamination

  - Appropriate person should pull the MSDS, if available, for the spill

What you should know:

- Hazardous material spills may occur inside a building, such as a spill in a chemistry lab

- More likely, incidents of disaster magnitude will occur outside, such as a truck accident involving large quantities of toxic material

- An emergency response is not required for incidental spills which are classified as minor spills that pose no threat to human health, property or the environment

- If an indoor release meets one or more of the following conditions, it shall constitute an emergency and require emergency response efforts:

- Over 500-milliters of a liquid or 1-pound of a solid for known chemicals or any size of acutely toxic, radioactive or unidentified chemical or combination of chemicals (i.e. strong oxidizers, phenol, reactive, peroxide, carcinogen, P and U listed waste);

- Human fluids, such as but not limited to blood, urine, and saliva, should ONLY be cleaned up by someone who has received Blood borne Pathogens training. Refer to the RIT Blood borne Pathogens Plan;

- Utility Failure Power Outage

What you should do:

  - Notify Public Safety and provide the following information:

    - Location of the site affected

    - Type of problem or outage

    - Do not hang up until advised to do so by dispatcher

  - Advise employees/students of the problem and actions to be taken once a determination has been made

What you should know:

  - Depending on the extent and expected duration of the outage, the Critical Incident Management Team will be activated to determine follow-on responses such as relocation and consolidation of operations

  - During failure of electricity, gas, water, or other utilities RIT will remain in operation to the extent possible

  - There is no need to immediately evacuate. Wait for instructions. You may be advised to Shelter in Place

Natural Gas Odor

What you should do:

  - Evacuate the building and report to the pre-determined meeting place. DO NOT PULL THE FIRE ALARM. Do not use a lighter, match or other source of flame or spark

  - Notify Public Safety after evacuation and provide the following information:

    - Location of the site affected

    - Type of problem or outage

    - Do not hang up until advised to do so by dispatcher

What you should know:

  - Natural gas is colorless and odorless – sulfur-like odor is added so leaks can be detected

  - During failure of electricity, gas, water, or other utilities RIT will remain in operation to the extent possible

## Severe Thunderstorm

What you should do:

  - Remain in or move indoors.

  - If you cannot move indoors, get into a hard-topped vehicle (car, van, truck)

  - Go to a safe level of the building, generally lower levels.

  - Stay away from windows or glass exterior doors.

  - Follow instructions from authorities.

What you should know:

  - A thunderstorm is considered severe if it produces hail at least 1 inch in diameter or has wind gusts of at least 58 miles per hour.

  - Every thunderstorm produces lightning

  - Heavy rain from thunderstorms can cause flash flooding, and high winds can damage homes and blow down trees and utility poles, causing widespread power outages.

Terms

Severe Thunderstorm Watch - Severe thunderstorms are possible in and near the watch area. Stay informed and be ready to act if a severe thunderstorm warning is issued.

Severe Thunderstorm Warning - Severe weather has been reported by spotters or indicated by radar. Warnings indicate imminent danger to life and property.

## Armed Intruder

What you should do:

Based on what you know about what’s happening, take actions to protect yourself by remembering “Run, Hide, Fight.” These action should be taken in the order they are necessary based upon what is happening at the time.

“Run” – Evacuate; – if there is a safe way out of the area, take it if you can

  - Notify others of the danger as you leave an area

  - Don’t wait for others to leave

  - Go to where you feel safe and notify Public Safety or 911

“Hide” – Put a protective barrier between you and the threat

  - Secure the door. If the door has no lock and the door opens in, a good heavy door wedge can be used if available. Use heavy furniture or equipment to barricade the door

  - If you have time and can do so safely lock windows, turn off lights, silence cell phones

  - Get out of sight; stay low and quiet

“Fight” – if it’s your last resort and only if your life is in imminent danger, attempt to disrupt or incapacitate the intruder by:

  - Acting as aggressively as possible toward him/her

  - Throwing items or improvising weapons

  - Yelling at the intruder

  - Committing to your actions

If you are outdoors, look for appropriate cover locations (trees, walls, boulders, parked vehicles). When you can, call 9-1-1 or Public Safety and inform them of the situation. Provide them with:

  - Your name

  - Location of the incident (be as specific as possible)

  - Number of assailants (if known)

  - Identification or description of assailant(s) o Number of persons who may be involved o Your exact location

  - Injuries to anyone, if known

What You Should Know

- Responding to an armed intruder training is available through the Public Safety Department. You may take a CPD course for further information and hands on training.

- Understand how the rooms you are in can be locked; prepare them to be closed and locked at a moment’s notice

8. Bomb Threat What you should do: Telephone threat:

  - Keep the caller on the telephone as long as possible to obtain further information

  - Listen carefully to all information provided by the caller and to make a note of any voice characteristics, accents, or background noises, as these may also be important clues

  - Use the Bomb Threat Report Form (Attachment 2)

  - Notify Public Safety as soon as possible

585-475-3333

Text: 585-205-8333

Written or E-Mailed threat:

  - Handle the written threat as little as possible

  - Note the date, time, location you received the written threat

  - Notify Public Safety

    - Provide the written threat to Public Safety on the first floor of Grace Watson

    - Forward the email to publicsafety@rit.edu

Evacuation Due to a Credible Bomb Threat or Suspicious Object/Package

  - Do not use the fire alarm system to signal for evacuation

  - Communication to evacuate will be verbal or written

  - You may not be able to use a primary evacuation route due to the location of a suspicious package; use an alternate evacuation route

  - Follow the instructions of Public Safety, Building Managers, or other officials upon evacuating

  - You may need to move at least 400 feet from the building

What you should know:

  - The Telephone Bomb Threat Report Form (found in Attachment 2) is intended to obtain important information relative to the severity of the threat as well as identifying the person responsible for making the threatening call

  - When the incident is reported to Public Safety, they will take appropriate measures and employ appropriate resources to thoroughly investigate the threat including notification to law enforcement; conducting facility searches; notifying the RIT community; and bolstering security on campus

## Suspicious Letter/Package or Object

What you should do:

Letter or Package

  - Handle with care – do not shake or dump

  - Isolate and look for indicators like:

    - No return address

    - Excessive postage

    - Restrictive markings (special delivery, personal, confidential)

    - Greasy stains

    - Misspelled words

    - Incorrect titles or names

    - Protruding wires

    - Excessive tape or string

    - Strange odor

  - Treat it as suspect

  - Notify Public Safety

585-475-3333

Text: 585-205-8333

Object

Explosive objects can be made out of a variety of things, many of which are easily accessible. The devices may vary in design, container and initiation system.

  - Object or item looks out of place or unusual for that area

  - It is a personal carry item (back pack, brief case) that has been left alone in a public area

  - There are obvious wires, timing devices or other objects that look like explosive devices

  - Do not handle the object or item

  - Report objects or items that look out of place or don’t belong immediately to Public Safety.

  - Be prepared to evacuate the area or the building; you may not be able to use a primary evacuate route due to the location of the suspicious object – use an alternate route

  - You may need to move at least 400 feet from the building; follow instructions from authorities

## Civil Disturbances

What you should do:

  - Report disruptive circumstances to Public Safety

  - Do not argue with participant(s)

  - Have employees, visitors or students leave the immediate area of disturbance

  - Lock all doors

  - Stay away from windows and exterior doors

  - Remain inside building, unless instructed otherwise by Public Safety

  - Public Safety will issue further instructions upon arrival

What you should know:

  - Inserting yourself in a violent situation may only lead to you and others getting hurt

  - Let the authorities deal with the situation

## Earthquake

What you should do:

Indoors

  - If possible, stand in a doorway, against an interior wall or seek protection underneath furniture, such as a desk or table

  - Place your arms over your head to protect yourself from head injuries

  - Distance yourself from windows that may break and large or heavy objects which may fall

  - Wait for the shaking to cease before leaving the building

Outdoors

  - Distance yourself from trees, power lines, utility poles and buildings

  - If you are driving, pull your vehicle over in a location away from trees, bridges, power lines, utility poles and buildings

  - Wait for the shaking to cease before leaving your vehicle Afterwards

  - Once the shaking has stopped, begin to carefully evacuate. Take items such as keys, wallet, medicines or other emergency supplies only if they are within reach

  - While leaving the building, be cautious about falling objects and structural damage. Be alert for persons who are injured or trapped

  - If available, turn on a radio or television for information

  - Phone systems may become overloaded for 15-30 minutes after an incident, which may delay emergency responders. Only use the phone during this time if it is an emergency

What you should know:

To prepare for an earthquake, you should:

  - Secure shelves and prevent objects from falling by using latching doors or raised edges. Place breakables and heavy objects on lower shelves.

  - Bolt top-heavy furniture and equipment to the walls or floor. Overhead lights, heavy artwork, and mirrors need to be anchored.

  - Store flammable liquids in appropriate storage cabinets (as required)

  - Aftershocks may occur after an earthquake, though generally not as strong

## Water Emergency

If there is a water contamination issue in this area, the Monroe County Water Authority (MCWA) will issue one of three orders:

  - Boil Water

  - Do not drink

  - Do not use

What you should do: Boil Water Order

  - Bring tap water to a rolling boil, boil for one minute, and cool before using (this can be done on the stove or in the microwave oven

  - Or use bottled water certified for sale by the New York State Department of Health. Boiled or bottled water should be used for drinking, making ice, washing dishes, brushing teeth, and preparing food until further notice

Do Not Drink Order

  - DO NOT use water from faucets or hoses for human consumption purposes

  - Use bottled water or water from alternative sources

  - Tap water must NOT be used for drinking, making ice cubes, washing foods, brushing teeth or any other activity involving consumption of water

Do Not Use Order

  - DO NOT use water from the tap for any purpose. Use bottled water or water from an alternative source

  - Discard any products prepared with water collected during the period of concern (ice cubes, baby formula, etc.

  - Do not shower or flush toilets until approved to do so by the Monroe County Department of Public Health or Monroe County Water Authority

What you should know:

  - The Monroe County Water Authority will issue drinking water orders after consultation with the Monroe County Public Health Department

  - The notices will be communicated via television, radio, and web

## Tornado

Although rare in New York, tornadoes do occur in New York State and in the western New York area. These tornadoes are generally no more powerful than an F3, but they can cause severe damage due to their 158 – 207 mph winds.

What You Should Do:

Act immediately when you learn of a tornado warning! RIT will activate the RIT Alert system when a tornado warning has been issued for Monroe County. However, tornadoes form quickly and one may move through the campus area before there’s opportunity to activate the system.

Indoors

  - Seek shelter immediately!

  - Move to the lowest level possible, if you have time. Do not use elevators as power may fail leaving you trapped.

  - Move away from windows and glass doorways / main entrances.

  - Go to the center of an interior room or hallway without windows or glass doors.

  - Put as many walls as possible between you and the outside.

  - If possible, get under a sturdy table or desk.

  - Do not open windows.

  - Crouch down and use your arms and hands to cover your head and neck.

Outdoors

  - Never try to outrun a tornado.

  - Lie flat in the nearest ditch or depression, away from power lines, buildings, trees, and vehicles. Use your arms and hands to cover your head and neck.

  - Watch out for flying debris. Flying debris from tornadoes causes most fatalities and injuries.

In a Vehicle

  - Get out immediately and go to the lowest floor of a sturdy, nearby building

  - If there are no buildings nearby, lie flat in the nearest ditch or depression, away from power lines, buildings, trees, and vehicles. Use your arms and hands to cover your head and neck.

  - Watch out for flying debris. Flying debris from tornadoes causes most fatalities and injuries.

What You Should Know

Tornado Watch - Tornadoes are possible in and near the watch area. Be ready to act quickly if a warning is issued or you suspect a tornado is approaching.

Tornado Warning - A tornado has been sighted or indicated by weather radar. Tornado warnings indicate imminent danger to life and property.

# Attachment 1 - Telephone Bomb Threat Report Form

Be calm, courteous and listen. Do not interrupt the caller. Report the call to Public Safety.

| DATE: | TIME: |  |
| --- | --- | --- |
| SOURCE OF TELEPHONE CALL |  |  |
| Name or number displayed on your phone. |  |  |
| Call from on or off campus? |  |  |
| EXACT WORDING OF THE THREAT: |  |  |
| QUESTIONS TO ASK: |  |  |
| 1. When is the bomb going to explode? |  |  |
| 2. Where is the bomb right now? |  |  |
| 3. What kind of bomb is it? |  |  |
| 4. What does it look like? |  |  |
| 5. What will cause it to explode? |  |  |
| 6. Why did you place the bomb? |  |  |
| 7. What is your name and address? |  |  |
| TRY TO DETERMINE THE FOLLOWING - CIRCLE AS APPROPRIATE |  |  |
| Caller’s Identity | Male Female Adult Juvenile Age years |  |
| Voice | Loud Soft High-pitched Deep Intoxicated Other |  |
| Accent | Local Foreign Region(describe) |  |
| Speech | Fast Slow Distinct Distorted Stutter Slurred Nasal |  |
| Language | Excellent Good Fair Poor Foul Other |  |
| Manner | Calm Angry Rational Irrational Coherent Incoherent Deliberate Righteous Laughing Intoxicated |  |
| Background Noise | Office Machines Factory Machines Bedlam Trains Animals Music Voices Airplanes Street-Traffic Party-atmosphere Mixed Other |  |
| ADDITIONAL INFORMATION |  |  |

# Attachment 2 – RIT Alert Template Messages

NOTE: These template messages may be modified to fit the actual situation or incident.

| Subject | Message |
| --- | --- |
| All Clear | R. I. T. Alert. ALL CLEAR. Emergency is over. ALL CLEAR. |
| Area Evacuation | R.I.T. Alert. EVACUATE [ ] Hall and nearby area IMMEDIATELY. Follow instructions from responders. |
| Armed Intruder | R. I. T. Alert. ARMED PERSON near [ ] Hall. Lock or barricade doors. If not on campus, stay away. Wait for instructions. |
| Bomb Threat | R. I. T. Alert. BOMB THREAT has been made against R.I.T. Evacuate [location] . If not on campus, stay away. Wait for instructions. |
| Building Emergency | R. I. T. Alert. Building emergency at [ ] Hall. Stay away from that area. Wait for instructions. |
| Campus-Wide Emergency | R. I. T. Alert. Campus-wide emergency. Seek shelter indoors. Close windows and doors. If not on campus, stay away. Wait for instructions. |
| Flood Warning | R. I. T. Alert. SEVERE FLOOD WARNING. Seek higher ground immediately. Wait for instructions. |
| System Test | This is a TEST of R.I.T. Alert, the Emergency Notification system. NO ACTION IS NEEDED. This is only a test. |
| Tornado Warning | R. I. T. Alert. TORNADO WARNING. Seek shelter indoors, at lowest level, away from windows and doors. Wait for instructions. |

Document Changes/Revision History Log

| Date | Section Changed | Reason for Change | Person(s) Making Revision |
| --- | --- | --- | --- |
| 6/6/2022 | - Updated to current “brand” formatting - Removed hyperlink to meeting place map because they are not used. - Added information in the first aid section with regard to seizures. - Added Gary Moxley’s email as contact for armed intruder training request | Annual review | Jody Nolan |
| 01/31/23 | - Editorial Changes to fire extinguishers and areas of refuge sections - Minor edits for MSDSs to SDSs and building marshalls to managers. | Review/updates | Jody Nolan Sarah Klein |
| 2/3/23 | - Removed the old RIT Alert image and updated Alert info. - Removed personal email from CPD course for armored intruder training - Removed hyphens from all instances of “911” | Review/updates | Luke Decker |
| 2/3/2023 | Editorial changes and formatting | Review/updates | Melinda Ward |